## Sheet1
S.No | V2 (mV ) | V1 (mV) | I= V1/33Ω (mA) | RTD=V2/(V1/R3) | R= V2 /I (Ω) | V2 | V1/R3
31 | 350.5 | 11.5 | 0.34848 |  | 1005.7826 | 15.5 | 0.34848
32 | 355.5 | 11.5 | 0.34848 |  | 1020.1304 | 20 | 0.34848
33 | 360.5 | 11.5 | 0.34848 |  | 1034.4783 | 25 | 0.34848
26 | 319.5 | 12.5 | 0.37879 |  | 843.48 | 30 | 0.37879
27 | 327.5 | 12.5 | 0.37879 |  | 864.6 | 35 | 0.37879
28 | 335.5 | 12.5 | 0.37879 |  | 885.72 | 40 | 0.37879
29 | 340.5 | 12.5 | 0.37879 |  | 898.92 | 45 | 0.37879
30 | 344.5 | 12.5 | 0.37879 |  | 909.48 | 127.5 | 0.37879
34 | 366.5 | 12.5 | 0.37879 |  | 967.56 | 131.5 | 0.37879
35 | 370.5 | 12.5 | 0.37879 |  | 978.12 | 179.5 | 0.37879
36 | 375.5 | 12.5 | 0.37879 |  | 991.32 | 195.6 | 0.37879
37 | 379.5 | 12.5 | 0.37879 |  | 1001.88 | 198.5 | 0.37879
25 | 314.5 | 13.5 | 0.40909 |  | 768.7778 | 206.5 | 0.40909
38 | 386.5 | 13.5 | 0.40909 |  | 944.7778 | 209.5 | 0.40909
24 | 299.5 | 14 | 0.42424 |  | 705.9643 | 214.5 | 0.42424
39 | 394.5 | 14 | 0.42424 |  | 929.8929 | 220.5 | 0.42424
23 | 288.5 | 14.5 | 0.43939 |  | 656.5862 | 225.5 | 0.43939
40 | 398.5 | 14.5 | 0.43939 |  | 906.931 | 228.5 | 0.43939
22 | 278.5 | 15.5 | 0.4697 |  | 592.9355 | 229.5 | 0.4697
41 | 407 | 16.5 | 0.5 |  | 814 | 233.5 | 0.5
42 | 416 | 18.5 | 0.56061 |  | 742.0541 | 267.5 | 0.56061
43 | 424 | 21.5 | 0.65152 |  | 650.7907 | 278.5 | 0.65152
44 | 434.5 | 26.5 | 0.80303 |  | 541.0755 | 288.5 | 0.80303
45 | 439 | 29.5 | 0.89394 |  | 491.0847 | 299.5 | 0.89394
46 | 444 | 33.5 | 1.0152 |  | 437.3731 | 314.5 | 1.0152
47 | 449.5 | 38.5 | 1.1667 |  | 385.2857 | 319.5 | 1.1667
21 | 267.5 | 40.5 | 1.2273 |  | 217.963 | 327.5 | 1.2273
48 | 454.5 | 43.5 | 1.3182 |  | 344.7931 | 335.5 | 1.3182
49 | 461.5 | 53.5 | 1.6212 |  | 284.6636 | 340.5 | 1.6212
11 | 195.6 | 56.5 | 1.7121 |  | 114.2442 | 344.5 | 1.7121
12 | 198.5 | 56.5 | 1.7121 |  | 115.9381 | 350.5 | 1.7121
13 | 206.5 | 56.5 | 1.7121 |  | 120.6106 | 355.5 | 1.7121
14 | 209.5 | 56.5 | 1.7121 |  | 122.3628 | 360.5 | 1.7121
15 | 214.5 | 56.5 | 1.7121 |  | 125.2832 | 366.5 | 1.7121
10 | 179.5 | 57.5 | 1.7424 |  | 103.0174 | 370.5 | 1.7424
16 | 220.5 | 57.5 | 1.7424 |  | 126.5478 | 375.5 | 1.7424
17 | 225.5 | 57.5 | 1.7424 |  | 129.4174 | 379.5 | 1.7424
18 | 228.5 | 57.5 | 1.7424 |  | 131.1391 | 386.5 | 1.7424
19 | 229.5 | 57.5 | 1.7424 |  | 131.713 | 394.5 | 1.7424
20 | 233.5 | 57.5 | 1.7424 |  | 134.0087 | 398.5 | 1.7424
50 | 464.5 | 59.5 | 1.803 |  | 257.6218 | 407 | 1.803
1 | 15.5 | 60.5 | 1.8333 |  | 8.4545 | 416 | 1.8333
51 | 469.5 | 69.5 | 2.1061 |  | 222.9281 | 424 | 2.1061
59 | 16 | 83 | 2.5152 |  | 6.3614 | 434.5 | 2.5152
52 | 475.5 | 84 | 2.5455 |  | 186.8036 | 439 | 2.5455
60 | 17 | 86.5 | 2.6212 |  | 6.4855 | 444 | 2.6212
61 | 18 | 91.5 | 2.7727 |  | 6.4918 | 449.5 | 2.7727
8 | 127.5 | 94.5 | 2.8636 |  | 44.5238 | 454.5 | 2.8636
53 | 479.5 | 94.5 | 2.8636 |  | 167.4444 | 461.5 | 2.8636
9 | 131.5 | 96.5 | 2.9242 |  | 44.9689 | 464.5 | 2.9242
2 | 20 | 98 | 2.9697 |  | 6.7347 | 469.5 | 2.9697
54 | 484.5 | 110.5 | 3.3485 |  | 144.6923 | 475.5 | 3.3485
3 | 25 | 114 | 3.4545 |  | 7.2368 | 479.5 | 3.4545
4 | 30 | 126.5 | 3.8333 |  | 7.8261 | 484.5 | 3.8333
55 | 490.5 | 134.5 | 4.0758 |  | 120.3457 | 490.5 | 4.0758
5 | 35 | 137.5 | 4.1667 |  | 8.4 | 494 | 4.1667
6 | 40 | 145 | 4.3939 |  | 9.1034 | 495.5 | 4.3939
7 | 45 | 150.5 | 4.5606 |  | 9.8671 | 499.5 | 4.5606
56 | 494 | 154 | 4.6667 |  | 105.8571 | 494 | 4.6667
57 | 495.5 | 161.5 | 4.8939 |  | 101.2477 | 495.5 | 4.8939
58 | 499.5 | 182.5 | 5.5303 |  | 90.3205 | 499.5 | 5.5303

## Sheet4
| Measured (from data points) | Expected (manufacturer details)
Peak Point Current: | 4.606 | 4.58-4.82
Peak Point Voltage: | 50 | 58-72
Valley Point Current: | 0.363 | 0.35-0.60
Valley Point Voltage: | 380 | 315-395
| Measured (from data points) | Expected (manufacturer details)
| 4.606 | 4.58-4.82
| 50 | 58-72
| 0.363 | 0.35-0.60
| 350.5 | 315-395
| Measured (from data points) | Expected (manufacturer details)
Peak Point Current: | 4.56 | 4.58-4.82
Peak Point Voltage: | 45 | 58-72
Valley Point Current: | 0.348 | 0.35-0.60
Valley Point Voltage: | 380 | 315-395
335
-4.212
-79.5347

## Sheet5
blue
| right | outer |  |  | inner |  |  |  | central
| msr | vsd | vsr ('') | angle | msr | vsd | vsr | angle | msr | vsd | vsr | angle | angle 1 | angle 2 | lamda 1 | la 2 | mean
v1 | 348 | 46 | 1380 | 348 23 | 347.5 | 2 | 60 | 347 31
v2 | 168.5 | 8 | 240 | 168 34 | 168 | 3 | 90 | 168 1 30 | 154.5 | 37 | 1110 | 154 48 30 | 13 13 | 13 45 30 | 387.15 | 402.72 | 394.935
red
| right | outer |  |  | inner |  |  |  | central
| msr | vsd | vsr ('') | angle | msr | vsd | vsr | angle | msr | vsd | vsr | angle | angle 1 | angle 2 | lamda 1 | la 2 | mean
v1 | 354.5 | 12 | 360 | 354 36 | 352 | 33 | 990 | 352 16 30 | 334.5 | 41 | 1230 | 334 50 30 | 17 26 | 19 45 30
v2 | 174.5 | 30 | 900 | 174 15 | 172.5 | 9 | 270 | 172 34 30 | 154.5 | 46 | 1380 | 154 53 | 17 41 30 | 19 22
[13 empty] | 17 33 45 | 19 33 45 | 510.96 | 566.99 | 538.975
orange
| right | outer |  |  | inner |  |  |  | central
| msr | vsd | vsr ('') | angle | msr | vsd | vsr | angle | msr | vsd | vsr | angle | angle 1 | angle 2 | lamda 1 | la 2 | mean
v1 | 352 | 30 | 900 | 352 15 | 351.5 | 8 | 240 | 351 34 | 334.5 | 13 | 390 | 334 36 30 | 17 17 30 | 17 38 30
v2 | 172.5 | 0 | 0 | 172 30 | 171.5 | 36 | 1080 | 171 48 | 154.5 | 28 | 840 | 154 44 | 17 4 | 17 46
[13 empty] | 17 10 45 | 17 42 15 | 500.14 | 514.94 | 507.54
green
| right | outer |  |  | inner |  |  |  | central
| msr | vsd | vsr ('') | angle | msr | vsd | vsr | angle | msr | vsd | vsr | angle | angle 1 | angle 2 | lamda 1 | la 2 | mean
v1 | 351.5 | 20 | 600 | 351 40 | 350.5 | 29 | 870 | 350 44 30 | 336 | 25 | 750 | 336 12 30 | 14 32 | 15 27 30
v2 | 172 | 1 | 30 | 172 0 30 | 170.5 | 40 | 1200 | 170 50 | 156 | 48 | 1440 | 156 24 | 14 26
[13 empty] | 14 29 |  | 423.5 | 451.34 | 437.42

## Sheet6
wavelengths |  | 1/An | 1/lambda | knee vol
639 |  | 0.0015649 | 0.0015649 | 1.836 | h = 6.66 *10^-34
507.54 |  | 0.0019703 | 0.0019703 | 1.908 | hmin= 6.56*10-34
437.42 |  | 0.0022861 | 0.0022861 | 2.865 | hmax = 6.76 *10^-34
394.9 |  | 0.0025323 | 0.0025323 | 2.872
max wavelengths
652 | 0.0015337 | 1.836
514.94 | 0.001942 | 1.908
451.34 | 0.0022156 | 2.865
402.72 | 0.0024831 | 2.872
min wavelengths
625 | 0.0016 | 1.836
500.14 | 0.0019994 | 1.908
423.5 | 0.0023613 | 2.865
387.15 | 0.002583 | 2.872

## Sheet7 (hidden)
639 | 0.0015649 | 1.836
497 | 0.0020121 | 1.946
443 | 0.0022573 | 2.878
392 | 0.002551 | 2.935

## Sheet8
539 | 0.0018553 | 1.836 | red
497 | 0.0020121 | 1.946
443 | 0.0022573 | 2.878
391 | 0.0025575 | 2.935